# Instrument Control and Cycle Test Scripts

This repository contains two Python scripts for automating hardware test setups:

- check_port.py — Scans all available serial (COM) and VISA (USB/GPIB/etc.) instruments, identifies them via *IDN?, and prints a summary.

- cycle_test.py — Runs an automated charge/discharge cycle test on a UPS (Uninterruptible Power Supply) while logging measurements from multiple instruments to a CSV file.

## Requirement

- Python

  - pyserial

  - pyvisa

- NI VISA Driver (To identify VISA port)

## How to run

- Open Terminal by clicking Windows button and X button, then I button.

- Navigate to the directory when the python script exists.

  - Use ‘ls’ or ‘ll’ to look for file and folder in the current directory

  - Use ‘cd’ to navigate to different path.

- Run ‘python check_port.py’ to check all the port detected. All the port with device information will be displayed.

- Edit the cycle_test.py with Notepad, change to port to match the respective device to model, and then save it.

- Run ‘python cycle_test.py’.

## Potential Issues & Solution

- Some device might not present even it is physically connected.

  - Restart the device should solve the problem

- Device with VISA connection not present.

  - Install the NI VISA Driver